## Sheet1
CODE | R | G | S | ADDR | RTP | DESC1 | DESC2 | DESC3 | DESC4 | DESC5 | VOLTAGE | D1TAG | D1DESC | D1BLK | D1LOC | D2TAG | D2DESC | D2BLK | D2LOC | D3TAG | D3DESC | D3BLK | D3LOC | D4TAG | D4DESC | D4BLK | D4LOC | D5TAG | D5DESC | D5BLK | D5LOC | D6TAG | D6DESC | D6BLK | D6LOC | D7TAG | D7DESC | D7BLK | D7LOC | D8TAG | D8DESC | D8BLK | D8LOC | D9TAG | D9DESC | D9BLK | D9LOC | VARNAME | VARTYPE
140CPS21100 | 1 |  | 1
140DAI34000 | 1 |  | 3 | %I1.3.1 |  | Start | [7 empty] | HT0001 |  |  |  | HPB11 |  |  |  | HT0001 | [25 empty] | Start | EBOOL
|  |  |  | %I1.3.2 |  | Stop | [7 empty] | HT0001 |  |  |  | HPB12 |  |  |  | HT0001 | [25 empty] | Stop | EBOOL
|  |  |  | %I1.3.3 |  | Emergency Stop | [7 empty] | HT0001 |  |  |  | HPB12ML |  |  |  | HT0001 | [25 empty] | E_Stop | EBOOL
|  |  |  | %I1.3.4 |  | Motor 2 Temperature too High | [7 empty] | HT0001 |  |  |  | HTS12 |  |  |  | HT0001 | [25 empty] | temp_high_motor2 | EBOOL
|  |  |  | %I1.3.5 |  | Motor 1 Temperature too High | [7 empty] | HT0001 |  |  |  | HTS12 |  |  |  | HT0001 | [25 empty] | temp_high_motor1 | EBOOL
|  |  |  | %I1.3.6 |  | RTI Value too High | [7 empty] | HT0001 |  |  |  | HPX12 |  |  |  | HT0001 | [25 empty] | rt_high | EBOOL
|  |  |  | %I1.3.7 |  | Fire in Motor Room Detected | [7 empty] | HT0001 |  |  |  | HTS12 |  |  |  | HT0001 | [25 empty] | fire_sensor | EBOOL
|  |  |  | %I1.3.8 |  | Fan 1 is Running | [7 empty] | HT0001 |  |  |  | HLS12 |  |  |  | HT0001 | [25 empty] | Fan1_on | EBOOL
|  |  |  | %I1.3.9 |  | Fan 2 is Running | [7 empty] | HT0001 |  |  |  | HLS12 |  |  |  | HT0001 | [25 empty] | Fan2_on | EBOOL
|  |  |  | %I1.3.10 |  | Water Pump 1 is Active | [7 empty] | HT0001 |  |  |  | HFS12 |  |  |  | HT0001 | [25 empty] | cooling_water_pump1_on | EBOOL
|  |  |  | %I1.3.11 |  | Water Pump 2 is Active | [7 empty] | HT0001 |  |  |  | HFS12 |  |  |  | HT0001 | [25 empty] | cooling_water_pump2_on | EBOOL
|  |  |  | %I1.3.12 |  | Motor 1 is Running | [7 empty] | HT0001 |  |  |  | HPX12 |  |  |  | HT0001 | [25 empty] | motor1_running | EBOOL
|  |  |  | %I1.3.13 |  | Motor 2 is Running | [7 empty] | HT0001 |  |  |  | HPX12 |  |  |  | HT0001 | [25 empty] | motor2_running | EBOOL
%I1.3.14
%I1.3.15
%I1.3.16
140DAO84010 | 1 |  | 4 | %Q1.4.1 |  | Activate Motor 1 | [7 empty] | HT0001 |  |  |  | HCR1 |  |  |  | HT0001 | [25 empty] | Motor1_start | EBOOL
|  |  |  | %Q1.4.2 |  | Activate Motor 2 | [7 empty] | HT0001 |  |  |  | HCR1 |  |  |  | HT0001 | [25 empty] | Motor2_start | EBOOL
|  |  |  | %Q1.4.3 |  | Activate Fan 2 | [7 empty] | HT0001 |  |  |  | HCR1 |  |  |  | HT0001 | [25 empty] | fan2_start | EBOOL
|  |  |  | %Q1.4.4 |  | Activate Fan 1 | [7 empty] | HT0001 |  |  |  | HCR1 |  |  |  | HT0001 | [25 empty] | fan1_start | EBOOL
|  |  |  | %Q1.4.5 |  | Activate Water Pump 2 | [7 empty] | HT0001 |  |  |  | HCR1 |  |  |  | HT0001 | [25 empty] | cooling_water_pump2_start | EBOOL
|  |  |  | %Q1.4.6 |  | Activate Water Pump 1 | [7 empty] | HT0001 |  |  |  | HCR1 |  |  |  | HT0001 | [25 empty] | cooling_water_pump1_start | EBOOL
|  |  |  | %Q1.4.7 |  | System Ok | [7 empty] | HT0001 |  |  |  | HLT1G |  |  |  | HT0001 | [25 empty] | all_right_lamp | EBOOL
|  |  |  | %Q1.4.8 |  | System Failure | [7 empty] | HT0001 |  |  |  | HLT1R |  |  |  | HT0001 | [25 empty] | all_bad_lamp | EBOOL
|  |  |  | %Q1.4.9 |  | System Halted | [7 empty] | HT0001 |  |  |  | HLT1Y |  |  |  | HT0001 | [25 empty] | all_halted_lamp | EBOOL
|  |  |  | %Q1.4.10 |  | Emergency Procedure Running | [7 empty] | HT0001 |  |  |  | HAN1H |  |  |  | HT0001 | [25 empty] | Emergency_Alarm_procedure | EBOOL
%Q1.4.11
%Q1.4.12
%Q1.4.13
%Q1.4.14
%Q1.4.15
%Q1.4.16